

 **INVITATION TO QUOTE BEY SCM 340**

**SUPPLY AND DELIVERY OF ELECTRICAL MATERIAL**

Quotes are requested from registered suppliers:

90% Local content will apply to the Airdac 100mm SNE Cable.

|  |  |  |  |
| --- | --- | --- | --- |
| **ITEM** | **QUANTITY** | **DESCRIPTION** | **PRICE** |
| 1 | 500 | Airdac 10mm SNE Cable copper phase XLPE insulated with identified neutral and bare earthConductors (SANS 1507-6). |  |
| 2 | 40 | Airdac strain clamps for 10-16mm airdac. |  |
| 3 | 40 | Pole Anchor lugs for Airdac strain clamps. |  |
| 4 | 10 | Suspension assembly for Insulated BundleConductor. |  |
| 5 | 15 | Strain Assembly for insulated bundle conductor. |  |
| 6 | 5 | M12 x 1,5m Non Adjustable Stay rods. |  |
| 7 | 5 | Stay rod plates for non adjustable stay rods(round 350x350x6). |  |
| 8 | 1 | Roll Galvanised steel stay wire (5 strands). |  |
| 9 | 80 | Guy Grips for stay wire/colour code Brown(5,4mm). |  |
| 10 | 20 | Eyebolt Assembly 20 x 250mm. |  |
| 11 | 20 | Pigtail Bolt Assembly 12 x 340mm |  |
| 12 | 20 | Pigtail screw 10 x 150mm. |  |
| 13 | 20 | Coach screw 12 x 75mm. |  |
| 14 | 10 | Swivel Slurt Pole Bracker Assembly. |  |
| 15 | 10 | Stay Strain Isulators size 136mm length x 85mmWidth (Porcelain). |  |
| 16 | 10 | Treaded Rod Assemblies M20 x 350mm /2 SqCurved washers, 2 Flat washers, 2 spring washers and 4 Nuts. |  |
| 17 | 20 | M20 Eye Nuts |  |
| 18 | 50 | TTD 151 Bundle conductor connectors 25-95mm Main/6-35mm tap.  |  |
| 19 | 20 | TTD 201 Bundle Conductor Connectors 35mmMain 25-95mm. |  |
| 20 | 6x30m Rolls | Stainless Steel Strapping 19 x 0,7mm. |  |
| 21 | 3xBoxesBuckles 100 per box | Buckles for stainless steel strapping 19x0,7mm |  |
| 22 | 50 | PG Clamps Aluminium 2 Bolt Range 6,6 mm to 18,9 mm. |  |
| 23 | 50 | Line Taps/Brass Slot width 8,3mm. |  |
| 24 | 10 | Threaded Rod Assemblies M20 x 600mm 4 Sq Curved washers 5 Flat washers, 2 spring washers 6 Nuts. |  |
| 25 | 10 | Pole Box 4 way with dinrail and neutral bar to connected house services. |  |
| 26 | 20 | 60 Amp single phase Circuit Breakers 6 KA rating curve 2/Dinrail. |  |

Total price exc vat: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Vat (if registered):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total price:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Quotes must be placed in the municipal tender box, Robert Sobukwe Building, in sealed envelopes clearly marked **"BEY SCM 340**", not later than 12h00 Friday on the 28TH of October 2022 and will be opened in public immediately thereafter.

**Note:**

1. Faxed, e-mailed or late quotations will not be accepted.
2. The tender will be evaluated on 80/20 system.
3. All suppliers must be registered on the Central Supplier Database (CSD)
4. Proof of registration with the Services SETA must be provided.
5. SARS verification pins to be submitted if possible.
6. A current certified Municipal (rates& services) clearance certificate to be submitted.
7. Attached MBD forms to be completed.
8. A current certified BBBEE certificate or Sworn Affidavit must be submitted in order to claim preference points.
9. Council is not bound to accept the lowest or any quotation and reserves the right to accept any tender or part thereof.
10. For further details contact **Mr A. Van Zyl 049 807 5700**

**DR. E.M. RANKWANA**

**MUNICIPAL MANAGER**

**DECLARATION OF INTEREST**

1. No bid will be accepted from persons in the service of the state¹.

1. Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid. In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority.

3 In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

3.1 Full Name of bidder or his or her representative:……………………………………………..

3.2 Identity Number: ………………………………………………………………………………….

 3.3 Position occupied in the Company (director, trustee, hareholder²):………………………..

3.4 Company Registration Number: ……………………………………………………………….

3.5Tax Reference Number:…………………………………………………………………………

3.6VAT Registration Number: ……………………………………………………………………

3.7 The names of all directors / trustees / shareholders members, their individual identity

numbers and state employee numbers must be indicated in paragraph 4 below.

3.8Are you presently in the service of the state? **YES / NO**

3.8.1If yes, furnish particulars. ….……………………………………………………………

……………………………………………………………………………………………..

**¹**MSCM Regulations: “in the service of the state” means to be –

a member of –

any municipal council;

any provincial legislature; or

the national Assembly or the national Council of provinces;

a member of the board of directors of any municipal entity;

an official of any municipality or municipal entity;

an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);

a member of the accounting authority of any national or provincial public entity; or

an employee of Parliament or a provincial legislature.

² Shareholder” means a person who owns shares in the company and is actively involved in the management of the company or business and exercises control over the company.

3.9Have you been in the service of the state for the past twelve months? ………**YES / NO**

 3.9.1If yes, furnish particulars.………………………...……………………………………..

 ……………………………………………………………………………………………. 3.10Do you have any relationship (family, friend, other) with persons

 in the service of the state and who may be involved with

 the evaluation and or adjudication of this bid?………………………………… **YES / NO**

 3.10.1If yes, furnish particulars.

 ………………………………………………………………………………

 ………………………………………………………………………………

3.11Are you, aware of any relationship (family, friend, other) between

 any other bidder and any persons in the service of the state who

 may be involved with the evaluation and or adjudication of this bid? **YES / NO**

3.11.1If yes, furnish particulars

…………………………………………………………………………………

……………………………….……............................................................

3.12Are any of the company’s directors, trustees, managers,

principle shareholders or stakeholders in service of the state? **YES / NO**

 3.12.1 If yes, furnish particulars.

 ……………………………………………………………………………….

 ……………………………………………………………………………….

3.13 Are any spouse, child or parent of the company’s directors

 trustees, managers, principle shareholders or stakeholders

in service of the state? **YES / NO**

 3.13.1If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.14 Do you or any of the directors, trustees, managers,

principle shareholders, or stakeholders of this company

have any interest in any other related companies or

business whether or not they are bidding for this contract. **YES / NO**

3.14.1 If yes, furnish particulars:

……………………………………………………………………………..

……………………………………………………………………………..

# 4. Full details of directors / trustees / members / shareholders.

|  |  |  |
| --- | --- | --- |
| **Full Name** | **Identity Number** | **State Employee Number** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

 ………………………………….. ……………………………………..

 **Signature Date**

 …………………………………. ………………………………………

 **Capacity Name of Bidder**

SBD 8

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

1. This Standard Bidding Document must form part of all bids invited.
2. It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.
3. The bid of any bidder may be disregarded if that bidder, or any of its directors have-
	1. abused the institution’s supply chain management system;
	2. committed fraud or any other improper conduct in relation to such system; or
	3. failed to perform on any previous contract.
4. **In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Item** | **Question** | **Yes** | **No** |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector?(Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the *audi alteram partem* rule was applied).**The Database of Restricted Suppliers now resides on the National Treasury’s website(**[www.treasury.gov.za](http://www.treasury.gov.za)**) and can be accessed by clicking on its link at the bottom of the home page.**  | Yes[ ]  | No[ ]  |
| 4.1.1 | If so, furnish particulars: |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? **The Register for Tender Defaulters can be accessed on the National Treasury’s website (**[**www.treasury.gov.za**](http://www.treasury.gov.za)**) by clicking on its link at the bottom of the home page.**  | Yes[ ]  | No[ ]  |
| 4.2.1 | If so, furnish particulars: |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years? | Yes[ ]  | No[ ]  |
| 4.3.1 | If so, furnish particulars: |
| 4.4 | Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes[ ]  | No[ ]  |
| 4.4.1 | If so, furnish particulars: |

**CERTIFICATION**

**I, THE UNDERSIGNED (FULL NAME)…………………………………………………**

 **CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.**

 **I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.**

 **………………………………………... …………………………..**

 **Signature Date**

 **………………………………………. …………………………..**

 **Position Name of Bidder**

SBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1 This Standard Bidding Document (SBD) must form part of all bids¹ invited.

2 Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3 Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a. disregard the bid of any bidder if that bidder, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.

b. cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the bidding process or the execution of that contract.

4 This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

5 In order to give effect to the above, the attached Certificate of Bid Determination (SBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process. Bid rigging is, therefore, an agreement between competitors not to compete.

SBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Bid Number and Description)

in response to the invitation for the bid made by:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Name of Institution)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_that:

(Name of Bidder)

1. I have read and I understand the contents of this Certificate;

2. I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

3. I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

4. Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;

5. For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) has been requested to submit a bid in response to this bid invitation;

(b) could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c) provides the same goods and services as the bidder and/or is in the same line of business as the bidder

SBD 9

6. The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

7. In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

(a) prices;

(b) geographical area where product or service will be rendered (market allocation)

(c) methods, factors or formulas used to calculate prices;

(d) the intention or decision to submit or not to submit, a bid;

(e) the submission of a bid which does not meet the specifications and conditions of the bid; or

(f) bidding with the intention not to win the bid.

8. In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

9. The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

SBD 9

10. I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

 ………………………………………………… …………………………………

Signature Date

…………………………………………………. …………………………………

Position Name of Bidder

Js914w 2

 MBD 6.2

**DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT FOR DESIGNATED SECTORS**

This Municipal Bidding Document (MBD) must form part of all bids invited. It contains general information and serves as a declaration form for local content (local production and local content are used interchangeably).

Before completing this declaration, bidders must study the General Conditions, Definitions, Directives applicable in respect of Local Content as prescribed in the Preferential Procurement Regulations, 2011 and the South African Bureau of Standards (SABS) approved technical specification number SATS 1286:2011 (Edition 1) and the Guidance on the Calculation of Local Content together with the Local Content Declaration Templates [Annex C (Local Content Declaration: Summary Schedule), D (Imported Content Declaration: Supporting Schedule to Annex C) and E (Local Content Declaration: Supporting Schedule to Annex C)].

1. **General Conditions**
	1. Preferential Procurement Regulations, 2011 (Regulation 9) makes provision for the promotion of local production and content.
	2. Regulation 9.(1) prescribes that in the case of designated sectors, where in the award of bids local production and content is of critical importance, such bids must be advertised with the specific bidding condition that only locally produced goods, services or works or locally manufactured goods, with a stipulated minimum threshold for local production and content will be considered.
	3. Where necessary, for bids referred to in paragraph 1.2 above, a two stage bidding process may be followed, where the first stage involves a minimum threshold for local production and content and the second stage price and B-BBEE.
	4. A person awarded a contract in relation to a designated sector, may not sub-contract in such a manner that the local production and content of the overall value of the contract is reduced to below the stipulated minimum threshold.
	5. The local content (LC) expressed as a percentage of the bid price must be calculated in accordance with the SABS approved technical specification number SATS 1286: 2011 as follows:

 LC = [1-  x / y] \*100

Where

 x is the imported content in Rand

 y is the bid price in Rand excluding value added tax (VAT)

Prices referred to in the determination of x must be converted to Rand (ZAR) by using the exchange rate published by the South African Reserve Bank (SARB) at 12:00 on the date of advertisement of the bid as required in paragraph 4.1 below.

**The SABS approved technical specification number SATS 1286:2011 is accessible on http://www.thedti.gov.za/industrial development/ip.jsp at no cost.**

* 1. A bid may be disqualified if –
1. this Declaration Certificate and the Annex C (Local Content Declaration: Summary Schedule) are not submitted as part of the bid documentation; and
2. the bidder fails to declare that the Local Content Declaration Templates (Annex C, D and E) have been audited and certified as correct.
3. **Definitions**
	1. **“bid”** includes written price quotations, advertised competitive bids or proposals;
	2. **“bid price”** price offered by the bidder, excluding value added tax (VAT);
	3. **“contract”** means the agreement that results from the acceptance of a bid by an organ of state;
	4. **“designated sector”** means a sector, sub-sector or industry that has been designated by the Department of Trade and Industry in line with national development and industrial policies for local production, where only locally produced services, works or goods or locally manufactured goods meet the stipulated minimum threshold for local production and content;
	5. **“duly sign”**means a Declaration Certificate for Local Content that has been signed by the Chief Financial Officer or other legally responsible person nominated in writing by the Chief Executive, or senior member / person with management responsibility(close corporation, partnership or individual).
	6. **“imported content”** means that portion of the bid price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or its subcontractors) and which costs are inclusive of the costs abroad (this includes labour and intellectual property costs), plus freight and other direct importation costs, such as landing costs, dock duties, import duty, sales duty or other similar tax or duty at the South African port of entry;
	7. **“local content”** means that portion of the bid price which is not included in the imported content, provided that local manufacture does take place;
	8. **“stipulated minimum threshold”** means that portion of local production and content as determined by the Department of Trade and Industry; and
	9. **“sub-contract”** means the primary contractor’s assigning, leasing, making out work to, or employing another person to support such primary contractor in the execution of part of a project in terms of the contract.
4. **The stipulated minimum threshold(s) for local production and content (refer to Annex A of SATS 1286:2011) for this bid is/are as follows:**

Description of services, works or goods Stipulated minimum threshold

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_%

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_%

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_%

1. Does any portion of the services, works or goods offered

 have any imported content?

 (***Tick applicable box***)

|  |  |  |  |
| --- | --- | --- | --- |
| YES |  | NO |  |

4.1 If yes, the rate(s) of exchange to be used in this bid to calculate the local content as prescribed in paragraph 1.5 of the general conditions must be the rate(s) published by the SARB for the specific currency at 12:00 on the date of advertisement of the bid.

 The relevant rates of exchange information is accessible on **www.reservebank.co.za.**

Indicate the rate(s) of exchange against the appropriate currency in the table below (refer to Annex A of SATS 1286:2011):

|  |  |
| --- | --- |
| **Currency**  | **Rates of exchange** |
| US Dollar |  |
| Pound Sterling |  |
| Euro |  |
| Yen |  |
| Other |  |

NB: Bidders must submit proof of the SARB rate (s) of exchange used.

1. Were the Local Content Declaration Templates (Annex C, D and E) audited and certified as correct?

 (***Tick applicable box***)

|  |  |  |  |
| --- | --- | --- | --- |
| YES |  | NO |  |

5.1. If yes, provide the following particulars:

1. Full name of auditor: ………………………………………………………
2. Practice number: ………………………………………………………………………..
3. Telephone and cell number: ……………………………………………………………….
4. Email address: ………………………………………………………………………..

(Documentary proof regarding the declaration will, when required, be submitted to the satisfaction of the Accounting Officer / Accounting Authority)

6. Where, after the award of a bid, challenges are experienced in meeting the stipulated minimum threshold for local content the dti must be informed accordingly in order for the dti to verify and in consultation with the Accounting Officer / Accounting Authority provide directives in this regard.

**LOCAL CONTENT DECLARATION**

**(REFER TO ANNEX B OF SATS 1286:2011)**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **LOCAL CONTENT DECLARATION BY CHIEF FINANCIAL OFFICER OR OTHER LEGALLY RESPONSIBLE PERSON NOMINATED IN WRITING BY THE CHIEF EXECUTIVE OR SENIOR MEMBER/PERSON WITH MANAGEMENT RESPONSIBILITY (CLOSE CORPORATION, PARTNERSHIP OR INDIVIDUAL)** **IN RESPECT OF BID NO.** **ISSUED BY**: (Procurement Authority / Name of Municipality / Municipal Entity): DR BEYERS NAUDE MUNICIPALITYNB 1 The obligation to complete, duly sign and submit this declaration cannot be transferred to an external authorized representative, auditor or any other third party acting on behalf of the bidder.2 Guidance on the Calculation of Local Content together with Local Content Declaration Templates (Annex C, D and E) is accessible on [http://www.thedti.gov.za/industrial development/ip.jsp.](http://www.thedti.gov.za/industrial%20development/ip.jsp.) Bidders should first complete Declaration D. After completing Declaration D, bidders should complete Declaration E and then consolidate the information on Declaration C. **Declaration C should be submitted with the bid documentation at the closing date and time of the bid in order to substantiate the declaration made in paragraph (c) below.**  Declarations D and E should be kept by the bidders for verification purposes for a period of at least 5 years. The successful bidder is required to continuously update Declarations C, D and E with the actual values for the duration of the contract.I, the undersigned, …………………………….................................................. (full names),do hereby declare, in my capacity as ……………………………………… ………..of ...............................................................................................................(name of bidder entity), the following:(a) The facts contained herein are within my own personal knowledge.(b) I have satisfied myself that1. the goods/services/works to be delivered in terms of the above-specified bid comply with the minimum local content requirements as specified in the bid, and as measured in terms of SATS 1286:2011; and
2. the declaration templates have been audited and certified to be correct.

(c)The local content percentages (%) indicated below has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 4.1 above and the information contained in Declaration D and E which has been consolidated in Declaration C;

|  |  |
| --- | --- |
| Bid price, excluding VAT (y)  | R  |
| Imported content (x), as calculated in terms of SATS 1286:2011 | R |
| Stipulated minimum threshold for local content (paragraph 3 above) |  |
| Local content %, as calculated in terms of SATS 1286:2011 |  |

**If the bid is for more than one product, the local content percentages for each product contained in Declaration C shall be used instead of the table above. The local content percentages for each product has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 4.1 above and the information contained in Declaration D and E.**(d) I accept that the Procurement Authority / Municipality /Municipal Entity has the right to request that the local content be verified in terms of the requirements of SATS 1286:2011.(e) I understand that the awarding of the bid is dependent on the accuracy of the information furnished in this application. I also understand that the submission of incorrect data, or data that are not verifiable as described in SATS 1286:2011, may result in the Procurement Authority / Municipal / Municipal Entity imposing any or all of the remedies as provided for in Regulation 13 of the Preferential Procurement Regulations, 2011 promulgated under the Preferential Policy Framework Act (PPPFA), 2000 (Act No. 5 of 2000). **SIGNATURE: DATE:**  **WITNESS No. 1 DATE: \_\_\_\_\_\_\_\_\_\_\_** **WITNESS No. 2 DATE: \_\_\_\_\_\_\_\_\_\_\_** |